## protips
Before powering on, scan for loose tubes, cables, and connectors. | WEBPC, WEBMOVIL
A clean sensor is a reliable sensor—wipe it before trusting the reading. | WEBPC, WEBMOVIL
If a value looks “too perfect,” verify with a second measurement. | WEBPC, WEBMOVIL
Treat alarms as information, not noise—identify the cause before silencing. | WEBPC, WEBMOVIL
Confirm the device mode matches the clinical goal, not just the last setting used. | WEBPC, WEBMOVIL
Check the patient interface first: mask seal, tubing kinks, and fit solve many “device problems.” | WEBPC, WEBMOVIL
When changing settings, adjust one parameter at a time to track cause and effect. | WEBPC, WEBMOVIL
Trend beats snapshot: compare values over minutes, not seconds. | WEBPC, WEBMOVIL
If the waveform looks wrong, inspect the line—occlusions and leaks distort everything. | WEBPC, WEBMOVIL
A quick pre-use checklist prevents a long troubleshooting session later. | WEBPC, WEBMOVIL
Label lines and ports; confusion loves unlabeled connections. | WEBPC, WEBMOVIL
Use the “pause and point” habit: point to the parameter you’re changing, then confirm out loud. | WEBPC, WEBMOVIL
Low battery warnings are a countdown—plan your next steps immediately. | WEBPC, WEBMOVIL
Calibrate when recommended; “close enough” drifts over time. | WEBPC, WEBMOVIL
Verify disposables match the correct type and size before assembly. | WEBPC, WEBMOVIL
A small leak can mimic a big problem—listen, feel, and inspect seals. | WEBPC, WEBMOVIL
Avoid overtightening connectors; damaged threads create recurring leaks. | WEBPC, WEBMOVIL
If you swap a component, re-check the full system path from source to patient. | WEBPC, WEBMOVIL
Make room for airflow: blocked vents lead to heat issues and unstable performance. | WEBPC, WEBMOVIL
Keep the cable path tidy—strain relief reduces disconnections mid-procedure. | WEBPC, WEBMOVIL
Don’t chase a single number; cross-check with the patient’s clinical signs. | WEBPC, WEBMOVIL
Set alarm limits intentionally; default thresholds are not “one size fits all.” | WEBPC, WEBMOVIL
Use priority thinking: address life-critical alarms before comfort alarms. | WEBPC, WEBMOVIL
When a sensor reads flatline, suspect contact first, failure second. | WEBPC, WEBMOVIL
If the monitor shows artifacts, reduce motion and check electrode/clip placement. | WEBPC, WEBMOVIL
A zero reading can mean “not connected,” not “no signal.” | WEBPC, WEBMOVIL
Switching patients? Reset profiles and clear old trends to avoid confusion. | WEBPC, WEBMOVIL
Confirm time and date settings—bad timestamps ruin traceability. | WEBPC, WEBMOVIL
Document configuration changes; future you will thank present you. | WEBPC, WEBMOVIL
Backups matter: know where the manual method is before you need it. | WEBPC, WEBMOVIL
Use a consistent setup order every time; routines reduce mistakes. | WEBPC, WEBMOVIL
When in doubt, return to a known-safe baseline configuration. | WEBPC, WEBMOVIL
Take a photo of the setup (if your protocol allows) to speed up audits and troubleshooting. | WEBPC, WEBMOVIL
Keep spare consumables within reach—running out creates risky improvisation. | WEBPC, WEBMOVIL
If a filter looks saturated, replace it; performance drops silently. | WEBPC, WEBMOVIL
Verify the gas/liquid source status before blaming the device. | WEBPC, WEBMOVIL
Check for occlusions by following the line with your hand from end to end. | WEBPC, WEBMOVIL
Use “two-step confirmation” for critical actions: select, then verify, then apply. | WEBPC, WEBMOVIL
Avoid rapid toggling; give the system time to stabilize after changes. | WEBPC, WEBMOVIL
Confirm the correct patient weight/parameters—many calculations depend on them. | WEBPC, WEBMOVIL
Keep connectors dry; moisture causes false signals and intermittent errors. | WEBPC, WEBMOVIL
Use only approved cleaning methods; harsh chemicals degrade seals and plastics. | WEBPC, WEBMOVIL
If you hear an unusual sound, pause—mechanical clues often come before alarms. | WEBPC, WEBMOVIL
Don’t silence recurring alarms without solving the root cause—recurrence is a warning pattern. | WEBPC, WEBMOVIL
Review the last event log when something feels “off”; the sequence tells the story. | WEBPC, WEBMOVIL
A stable baseline reading after setup is your green light to proceed. | WEBPC, WEBMOVIL
Make sure the device is on a stable surface; vibration can affect precision. | WEBPC, WEBMOVIL
Confirm the right ports: “fits” doesn’t mean “correct.” | WEBPC, WEBMOVIL
Plan your disconnection steps—avoid accidental air entry or contamination. | WEBPC, WEBMOVIL
End each session with a quick post-check: clean, inspect, restock, and log issues. | WEBPC, WEBMOVIL

## plataformas
ALL
PC
WEBPC
WEBMOVIL
ANDROID
XRANDROID
XRPC